Policy 1813.0


Catholic Diocese of Columbus
Maintenance Plan - Template

	Area
	Task
	Frequency
	Month(s)

	Air Handling Units
	Inspect and replace filters
	Semi-annually
	

	Asphalt Pavement
	Inspection and repair cracks and area patching
	Annually
	

	Boilers, Building Heat
	Inspect and repair
	Annually
	

	Ceilings, Acoustical Tiles
	Inspect – replace stained tiles
	Annually
	

	Concrete Flatwork
	Inspection for trip hazards, repair
	Annually
	

	Fan Coil Units
	Inspect and replace filters
	Semi-annually
	

	Fire Detection System
	Inspect and repair
	Annually
	

	Floor Coverings, Carpet
	Cleaning
	Semi-annually
	

	Floor Coverings, Ceramic Tile
	Inspect and replace grout
	Annually
	

	Floor Coverings, Vinyl
	Inspect for lift, cracking – replace
	Annually
	

	Gutters & Downspouts
	Repair Seams & Fastening Points
Verify discharge away from foundation
Cleaning
	Semi-annually
	

	Kitchen Equipment
	Inspect and repair
	Semi-annually
	

	Light Fixtures
	Inspect and repair
	Semi-annually
	

	Light Fixtures, Emergency & Exit
	Inspect and repair
Test and replace batteries
	Annually
	

	Light Poles and Fixtures
	Inspect for rust, etc and repair/repaint
	Annually
	

	Multimedia Equipment
	Inspect and repair
	Annually
	

	Pavers, Brick
	Inspection for trip hazards and deterioration, reset/replace
	Annually
	

	Pews and Chairs, Upholstery
	Inspect and repair
Cleaning
	Annually
	

	Roof, Flat
	Inspect and repair
	Annually
	

	Roofs, Asphalt Shingles


	Roof soffit vents clear of debris and not blocked by insulation
Inspect shingles for cup, curl, lift

Inspect insulation for deterioration and replace
	Annually


	

	Rooftop Heating and Cooling Units
	Inspect and replace filters
	Semi-annually


	

	Security System
	Test and repair
	Annually
	

	Split (dual heat and AC) System
	Inspect and replace filters
	Semi-annually
	

	Walls, Inspection and Partial Masonry
	Repointing
Inspect & repair lintels – remove rust, repaint
Inspect and repair areas of masonry deterioration

	Annually
	

	Walls, Stucco, Cross Tower
	Inspect roof cap
Inspect stucco for cracking
	Annually


	

	Windows & Doors


	Inspect and clear weep holes
Inspect caulking and repair/replace

Inspect frames and repair/repaint

Inspect weather-strips and replace

Inspect mechanicals and adjust/replace

Inspect for broken seals and replace

Inspect and repair door damage
	Annually


	


Issued:  June 30, 2008


