Catholic Diocese of Columbus

Maintenance Plan - Template

| Area | Task | Frequency | Month(s) |
| --- | --- | --- | --- |
| Air Handling Units | Inspect and replace filters | Semi-annually |  |
| Asphalt Pavement | Inspection and repair cracks and area patching | Annually |  |
| Boilers, Building Heat | Inspect and repair | Annually |  |
| Ceilings, Acoustical Tiles | Inspect – replace stained tiles | Annually |  |
| Concrete Flatwork | Inspection for trip hazards, repair | Annually |  |
| Fan Coil Units | Inspect and replace filters | Semi-annually |  |
| Fire Detection System | Inspect and repair | Annually |  |
| Floor Coverings, Carpet | Cleaning | Semi-annually |  |
| Floor Coverings, Ceramic Tile | Inspect and replace grout | Annually |  |
| Floor Coverings, Vinyl | Inspect for lift, cracking – replace | Annually |  |
| Gutters & Downspouts | Repair Seams & Fastening Points Verify discharge away from foundation Cleaning | Semi-annually |  |
| Kitchen Equipment | Inspect and repair | Semi-annually |  |
| Light Fixtures | Inspect and repair | Semi-annually |  |
| Light Fixtures, Emergency & Exit | Inspect and repair Test and replace batteries | Annually |  |
| Light Poles and Fixtures | Inspect for rust, etc and repair/repaint | Annually |  |
| Multimedia Equipment | Inspect and repair | Annually |  |
| Pavers, Brick | Inspection for trip hazards and deterioration, reset/replace | Annually |  |
| Pews and Chairs, Upholstery | Inspect and repair Cleaning | Annually |  |
| Roof, Flat | Inspect and repair | Annually |  |
| Roofs, Asphalt Shingles | Roof soffit vents clear of debris and not blocked by insulation Inspect shingles for cup, curl, lift Inspect insulation for deterioration and replace | Annually |  |
| Rooftop Heating and Cooling Units | Inspect and replace filters | Semi-annually |  |
| Security System | Test and repair | Annually |  |
| Split (dual heat and AC) System | Inspect and replace filters | Semi-annually |  |
| Walls, Inspection and Partial Masonry | Repointing Inspect & repair lintels – remove rust, repaint Inspect and repair areas of masonry deterioration | Annually |  |
| Walls, Stucco, Cross Tower | Inspect roof cap Inspect stucco for cracking | Annually |  |
| Windows & Doors | Inspect and clear weep holes Inspect caulking and repair/replace Inspect frames and repair/repaint Inspect weather-strips and replace Inspect mechanicals and adjust/replace Inspect for broken seals and replace Inspect and repair door damage | Annually |  |